{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Driver Range","Which Driver"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Driver Range","index":0,"n_rows":23,"n_cols":28,"rows_kept":23,"cut":false,"hidden":true,"merged":[]}
[]
[null,"Name","Output Current (mA)","Output Voltage (Vdc)","Output Power\n(W)","Notes","AiDimming Model:",null,null,null,"Model","Qty of fittings on single circuit with no driver capable","Current","Power W","Power V",null,null,null,null,null,null,null,null,null,"Driver Model","Current","Power w","Power V"]
[null,"Powerbank.250",250,"25 - 42","6.25 - 10.5",null,"(PE294R4225 DC25-42V 250MA)",null,null,null,"Pro40 ","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",4,6]
[null,"Powerbank.250DALI","200/250/300/350","9 - 42","1.8 - 14.7",null,"(PE14DA42 9-42V 200/250/300/350mA)",null,null,null,"Spot.S","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",18,18]
[null,"Powerbank350.S",350,"2.5 - 6","2 - 4.2",null,"(PE280B0635 2.5-6V  350mA)",null,null,null,"Beam.M","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",21,21]
[null,null,null,null,null,null,null,null,null,null,"Mark","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",24,24]
[null,"Powerbank350.M",350,"12 - 24","4.2 - 8.4",null,"(PE294R2435 DC12-24V 350MA)",null,null,null,"Pin","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",30,30]
[null,"Powerbank350.L",350,"25 - 42","8.75 - 14.7",null,"(PE296R4235 DC25-42V 350MA)",null,null,null,"Blade","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",32,36]
[null,"Powerbank350.XL",350,"43 - 70","15 - 25",null,"(PE292B7035 43-70V  350mA)",null,null,null,"Tilt.M","14,24>","700mA",2.1,3,null,null,null,null,null,null,null,null,null,"?","700mA",33,33]
[null,null,null,"Nothing below 6V / 4.2W (I.e. 1 x Spot S)",null,null,null,null,null,null,"Spot.M","7>","700mA",6.3,9,null,null,null,null,null,null,null,null,null,"?","700mA",36,36]
[null,"Powerbank700.S",700,"6 - 15","4.2 - 10.5",null,"(PE294R1570 DC6-15V 700MA)",null,null,null,"Spot.Z","7>","700mA",6.3,9,null,null,null,null,null,null,null,null,null,"?","700mA",39,39]
[null,"Powerbank700.M",700,"12 - 24","8.5 - 16.8",null,"(PE296R2470 DC12-24V 700mA)",null,null,null,"Tilt.L","8>","700mA",6.3,9,null,null,null,null,null,null,null,null,null,"?","700mA",42,42]
[null,null,null,null,null,"7 x Spot.S = 21V / 21W ??",null,null,null,null,"Beam.Z","8>","700mA",6.3,9,null,null,null,null,null,null,null,null,null,"?","700mA",56,63]
[null,"Powerbank700.L",700,"25 - 42","17.5 - 29.2",null,"(PE292B4270 DC25-42V 700mA)",null,null,null,"Hide","24>","350mA",1.05,3,null,null,null,null,null,null,null,null,null,"?","700mA",64,72]
[null,"Powerbank700.XL",700,"43 - 70","30 - 49",null,"(PE298B7070 DC25-42V 700mA)",null,null,null,"Beam.S","24>","350mA",1.05,3,null,null,null,null,null,null,null,null,null,"?","700mA",72,81]
[null,"PowerHub.36",1500,24,36,null,"(PE-BL36TV24 DC24V 1.5A)",null,null,null,"Beam.S.Q","24>","350mA",1.05,3,null,null,null,null,null,null,null,null,null,"?","350mA",2.8,6]
[null,"PowerHub.80",3300,24,80,null,"(PE-BL80TV24 DC24V 3.33A)",null,null,null,"Moon","4>","350mA",6.3,18,null,null,null,null,null,null,null,null,null,"?","350mA",3,9]
[null,"PowerHub.150",6250,24,150,null,"(PE-BL150TV24 DC24V 6.25A)",null,null,null,"Beam.L","4>","350mA",6.3,18,null,null,null,null,null,null,null,null,null,"?","350mA",4.2,9]
[null,null,null,"Nothing above 150w (i.e. RGBW 10m = 192w)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"?","350mA",15.4,33]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"?","350mA",16.8,36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"?","350mA",18.2,39]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"?","350mA",19.600000000000001,42]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"?","350mA",25.2,54]

{"sheet":"Which Driver","index":1,"n_rows":28,"n_cols":70,"rows_kept":28,"cut":false,"hidden":false,"merged":[[22,35,22,36],[23,35,23,36],[24,35,24,36],[25,35,25,36],[26,35,26,36],[27,35,27,36],[8,35,8,36],[9,35,9,36],[10,35,10,36],[11,35,11,36],[12,35,12,36],[13,35,13,36],[14,35,14,36],[15,35,15,36],[16,35,16,36],[27,43,27,44],[19,43,19,44],[1,45,1,46],[3,45,4,46],[5,45,5,46],[7,45,7,46],[8,23,27,24],[25,21,25,22],[26,21,26,22],[27,21,27,22],[1,23,1,24],[3,23,4,24],[5,23,5,24],[7,23,7,24],[8,45,8,46],[9,45,9,46],[10,45,10,46],[11,45,11,46],[12,45,12,46],[13,45,13,46],[14,45,14,46],[15,45,15,46],[16,45,16,46],[17,45,17,46],[20,45,20,46],[21,45,21,46],[1,21,1,22],[3,21,4,22],[5,21,5,22],[7,21,7,22],[8,21,8,22],[9,21,9,22],[10,21,10,22],[11,21,11,22],[12,21,12,22],[1,31,1,32],[3,31,4,32],[8,31,8,32],[9,31,9,32],[10,31,10,32],[11,31,11,32],[12,31,12,32],[1,41,1,42],[3,41,4,42],[5,41,5,42],[7,41,7,42],[8,41,8,42],[9,41,9,42],[19,11,19,12],[19,13,19,14],[19,15,19,16],[19,17,19,18],[19,19,19,20],[19,27,19,28],[19,31,19,32],[19,33,19,34],[19,53,19,54],[19,21,19,22],[19,51,19,52],[19,35,19,36],[0,7,0,69],[8,47,27,48],[1,63,1,64],[3,63,4,64],[5,63,5,64],[7,63,7,64],[8,63,8,64],[9,63,9,64],[10,63,10,64],[11,63,11,64],[12,63,12,64],[13,63,13,64],[14,63,14,64],[15,63,15,64],[16,63,16,64],[17,63,17,64],[20,63,20,64],[21,63,21,64],[22,63,22,64],[18,7,18,8],[18,9,18,10],[18,11,18,12],[18,13,18,14],[18,15,18,16],[25,7,25,8],[26,7,26,8],[27,7,27,8],[3,0,4,0],[1,47,1,48],[3,47,4,48],[5,47,5,48],[7,47,7,48],[23,45,23,46],[24,45,24,46],[25,45,25,46],[26,45,26,46],[27,45,27,46],[1,7,1,8],[3,7,4,8],[5,7,5,8],[7,7,7,8],[8,7,8,8],[9,7,9,8],[10,7,10,8],[1,25,1,26],[3,25,4,26],[5,25,5,26],[19,9,19,10],[14,7,14,8],[15,7,15,8],[16,7,16,8],[17,7,17,8],[20,7,20,8],[21,7,21,8],[23,63,23,64],[24,63,24,64],[25,63,25,64],[8,25,27,26],[18,17,18,18],[18,19,18,20],[18,27,18,28],[18,31,18,32],[18,33,18,34],[18,41,18,42],[18,43,18,44],[18,45,18,46],[18,51,18,52],[18,53,18,54],[18,55,18,56],[18,61,18,62],[18,63,18,64],[19,7,19,8],[22,7,22,8],[23,7,23,8],[24,7,24,8],[27,13,27,14],[27,15,27,16],[27,17,27,18],[27,31,27,32],[27,41,27,42],[27,27,27,28],[27,33,27,34],[24,9,24,10],[25,9,25,10],[26,11,26,12],[24,11,24,12],[25,11,25,12],[26,15,26,16],[25,15,25,16],[26,17,26,18],[25,17,25,18],[26,31,26,32],[25,31,25,32],[25,27,25,28],[26,41,26,42],[25,41,25,42],[27,51,27,52],[27,53,27,54],[27,55,27,56],[27,19,27,20],[27,61,27,62],[27,9,27,10],[27,11,27,12],[27,63,27,64],[20,61,20,62],[21,19,21,20],[22,19,22,20],[23,19,23,20],[24,19,24,20],[25,19,25,20],[26,61,26,62],[21,11,21,12],[22,11,22,12],[23,11,23,12],[26,13,26,14],[25,13,25,14],[21,13,21,14],[22,13,22,14],[23,13,23,14],[26,63,26,64],[21,55,21,56],[22,55,22,56],[23,55,23,56],[24,55,24,56],[25,55,25,56],[26,19,26,20],[13,61,13,62],[14,61,14,62],[15,61,15,62],[16,61,16,62],[17,61,17,62],[19,45,19,46],[19,55,19,56],[19,61,19,62],[13,21,13,22],[14,21,14,22],[15,21,15,22],[16,21,16,22],[17,21,17,22],[18,21,18,22],[22,45,22,46],[26,43,26,44],[20,43,20,44],[21,43,21,44],[22,43,22,44],[23,43,23,44],[24,43,24,44],[25,43,25,44],[14,19,14,20],[15,19,15,20],[16,19,16,20],[17,19,17,20],[20,19,20,20],[22,31,22,32],[23,31,23,32],[24,31,24,32],[22,41,22,42],[23,41,23,42],[24,41,24,42],[22,29,22,30],[14,29,14,30],[15,29,15,30],[16,29,16,30],[17,29,17,30],[18,29,18,30],[19,29,19,30],[20,29,20,30],[21,29,21,30],[3,67,4,67],[3,68,4,68],[26,51,26,52],[21,51,21,52],[22,51,22,52],[23,51,23,52],[24,51,24,52],[25,51,25,52],[16,51,16,52],[17,51,17,52],[20,51,20,52],[17,53,17,54],[20,53,20,54],[9,53,9,54],[10,53,10,54],[11,53,11,54],[12,53,12,54],[13,53,13,54],[24,53,24,54],[25,53,25,54],[14,53,14,54],[15,53,15,54],[16,53,16,54],[26,55,26,56],[3,69,4,69],[17,43,17,44],[5,6,7,6],[1,43,1,44],[3,43,4,44],[5,43,5,44],[7,43,7,44],[8,43,8,44],[10,43,10,44],[14,43,14,44],[15,43,15,44],[16,43,16,44],[1,51,1,52],[3,51,4,52],[5,51,5,52],[7,51,7,52],[8,51,8,52],[10,51,10,52],[11,51,11,52],[12,51,12,52],[13,51,13,52],[9,51,9,52],[14,51,14,52],[15,51,15,52],[5,2,7,2],[11,43,11,44],[12,43,12,44],[13,43,13,44],[9,1,9,6],[5,1,7,1],[5,3,7,3],[5,5,7,5],[5,4,7,4],[9,43,9,44],[13,19,13,20],[13,9,13,10],[13,13,13,14],[13,15,13,16],[13,31,13,32],[13,41,13,42],[13,27,13,28],[11,7,11,8],[12,7,12,8],[13,7,13,8],[7,25,7,26],[13,17,13,18],[5,31,5,32],[7,31,7,32],[1,53,1,54],[3,53,4,54],[5,53,5,54],[7,53,7,54],[8,53,8,54],[26,53,26,54],[1,55,1,56],[3,55,4,56],[5,55,5,56],[7,55,7,56],[8,55,8,56],[9,55,9,56],[10,55,10,56],[11,55,11,56],[12,55,12,56],[13,55,13,56],[14,55,14,56],[15,55,15,56],[16,55,16,56],[17,55,17,56],[20,55,20,56],[21,53,21,54],[22,53,22,54],[23,53,23,54],[1,19,1,20],[3,19,4,20],[5,19,5,20],[7,19,7,20],[8,19,8,20],[9,19,9,20],[10,19,10,20],[11,19,11,20],[12,19,12,20],[1,65,1,66],[3,65,4,66],[5,65,5,66],[7,65,7,66],[21,61,21,62],[22,61,22,62],[23,61,23,62],[24,61,24,62],[25,61,25,62],[1,61,1,62],[3,61,4,62],[5,61,5,62],[7,61,7,62],[8,61,8,62],[9,61,9,62],[10,61,10,62],[11,61,11,62],[12,61,12,62],[8,65,27,66],[19,63,19,64],[1,9,1,10],[3,9,4,10],[5,9,5,10],[7,9,7,10],[8,9,8,10],[9,9,9,10],[10,9,10,10],[11,9,11,10],[12,9,12,10],[14,9,14,10],[15,9,15,10],[16,9,16,10],[17,9,17,10],[20,9,20,10],[26,9,26,10],[1,11,1,12],[3,11,4,12],[5,11,5,12],[7,11,7,12],[8,11,8,12],[9,11,9,12],[10,11,10,12],[11,11,11,12],[12,11,12,12],[13,11,13,12],[14,11,14,12],[15,11,15,12],[16,11,16,12],[17,11,17,12],[20,11,20,12],[21,9,21,10],[22,9,22,10],[23,9,23,10],[1,13,1,14],[3,13,4,14],[5,13,5,14],[7,13,7,14],[8,13,8,14],[9,13,9,14],[10,13,10,14],[11,13,11,14],[12,13,12,14],[24,13,24,14],[24,15,24,16],[1,15,1,16],[3,15,4,16],[5,15,5,16],[7,15,7,16],[8,15,8,16],[9,15,9,16],[10,15,10,16],[11,15,11,16],[12,15,12,16],[14,13,14,14],[15,13,15,14],[16,13,16,14],[17,13,17,14],[20,13,20,14],[21,15,21,16],[22,15,22,16],[23,15,23,16],[14,15,14,16],[15,15,15,16],[16,15,16,16],[17,15,17,16],[20,15,20,16],[1,17,1,18],[3,17,4,18],[5,17,5,18],[7,17,7,18],[8,17,8,18],[9,17,9,18],[10,17,10,18],[11,17,11,18],[12,17,12,18],[21,17,21,18],[22,17,22,18],[23,17,23,18],[24,17,24,18],[14,17,14,18],[15,17,15,18],[23,27,23,28],[24,27,24,28],[14,27,14,28],[15,27,15,28],[16,27,16,28],[17,27,17,28],[20,27,20,28],[16,17,16,18],[17,17,17,18],[20,17,20,18],[20,21,20,22],[21,21,21,22],[22,21,22,22],[23,21,23,22],[24,21,24,22],[22,27,22,28],[10,41,10,42],[11,41,11,42],[12,41,12,42],[14,41,14,42],[15,41,15,42],[16,41,16,42],[17,41,17,42],[20,41,20,42],[21,31,21,32],[21,41,21,42],[14,31,14,32],[15,31,15,32],[16,31,16,32],[17,31,17,32],[20,31,20,32],[19,41,19,42],[17,35,17,36],[18,35,18,36],[20,35,20,36],[21,35,21,36],[1,27,1,28],[3,27,4,28],[5,27,5,28],[7,27,7,28],[8,27,8,28],[9,27,9,28],[10,27,10,28],[11,27,11,28],[12,27,12,28],[26,33,26,34],[21,33,21,34],[22,33,22,34],[23,33,23,34],[24,33,24,34],[25,33,25,34],[26,27,26,28],[1,33,1,34],[3,33,4,34],[5,33,5,34],[7,33,7,34],[8,33,8,34],[9,33,9,34],[10,33,10,34],[11,33,11,34],[12,33,12,34],[13,33,13,34],[14,33,14,34],[15,33,15,34],[16,33,16,34],[17,33,17,34],[20,33,20,34],[21,27,21,28],[13,29,13,30],[24,39,24,40],[23,29,23,30],[24,29,24,30],[25,29,25,30],[26,29,26,30],[27,29,27,30],[1,35,1,36],[3,35,4,36],[5,35,5,36],[7,35,7,36],[1,37,1,38],[3,37,4,38],[5,37,5,38],[7,37,7,38],[8,37,27,38],[1,29,1,30],[3,29,4,30],[5,29,5,30],[7,29,7,30],[8,29,8,30],[9,29,9,30],[10,29,10,30],[11,29,11,30],[12,29,12,30],[21,49,21,50],[22,49,22,50],[23,49,23,50],[24,49,24,50],[1,39,1,40],[3,39,4,40],[5,39,5,40],[7,39,7,40],[8,39,8,40],[9,39,9,40],[10,39,10,40],[11,39,11,40],[12,39,12,40],[13,39,13,40],[14,39,14,40],[15,39,15,40],[16,39,16,40],[17,39,17,40],[18,39,18,40],[19,39,19,40],[20,39,20,40],[21,39,21,40],[22,39,22,40],[23,39,23,40],[21,59,21,60],[22,59,22,60],[23,59,23,60],[24,59,24,60],[25,39,25,40],[26,39,26,40],[27,39,27,40],[1,49,1,50],[3,49,4,50],[5,49,5,50],[7,49,7,50],[8,49,8,50],[9,49,9,50],[10,49,10,50],[11,49,11,50],[12,49,12,50],[13,49,13,50],[14,49,14,50],[15,49,15,50],[16,49,16,50],[17,49,17,50],[18,49,18,50],[19,49,19,50],[20,49,20,50],[20,57,20,58],[21,57,21,58],[22,57,22,58],[23,57,23,58],[25,49,25,50],[26,49,26,50],[27,49,27,50],[1,59,1,60],[3,59,4,60],[5,59,5,60],[7,59,7,60],[8,59,8,60],[9,59,9,60],[10,59,10,60],[11,59,11,60],[12,59,12,60],[13,59,13,60],[14,59,14,60],[15,59,15,60],[16,59,16,60],[17,59,17,60],[18,59,18,60],[19,59,19,60],[20,59,20,60],[24,57,24,58],[25,57,25,58],[26,57,26,58],[27,57,27,58],[25,59,25,60],[26,59,26,60],[27,59,27,60],[1,57,1,58],[3,57,4,58],[5,57,5,58],[7,57,7,58],[8,57,8,58],[9,57,9,58],[10,57,10,58],[11,57,11,58],[12,57,12,58],[13,57,13,58],[14,57,14,58],[15,57,15,58],[16,57,16,58],[17,57,17,58],[18,57,18,58],[19,57,19,58]]}
[null,null,null,null,null,null,null,"Enter the number of fittings required in the row below.  It assumes only one type of fitting will be used per driver on a circuit * \n*One can only combine different fittings if they require the same ampere or voltage.  For further information please email sales@lightingoflondon.co for further help and advice"]
["Quantity in circuit:","-->",0,"-->","-->","-->","-->",1,null,4,null,2,null,2,null,2,null,5,null,2,null,3,null,0,null,0,null,2,null,4,null,5,null,3,null,0,null,0,null,1,null,7,null,2,null,1,null,0,null,1,null,5,null,2,null,7,null,3,null,1,null,2,null,1,null,0,null,1,10,5]
[]
["DRIVER     /     FITTING",null,null,null,null,null,null,"Aim70",null,"BeamS",null,"BeamS.Q",null,"BeamM",null,"BeamL",null,"BeamZ",null,"Blade",null,"Bloc.P/R",null,"Bloc.S",null,"Follow.\nMe.P/R/S",null,"Hide",null,"Lunar",null,"Mark",null,"Moon",null,"Niche\nL/M/S",null,"Orb.M/S",null,"Peep",null,"Pin",null,"Pro40",null,"Pro60",null,"Seek",null,"Snug",null,"SpotS",null,"SpotM",null,"SpotZ",null,"Sqube.S",null,"Sqube.M",null,"TiltM",null,"TiltL",null,"Uno",null,"Linear .240","Linear .350","Linear .RGBW"]
[]
["Current mA","Output\nCurrent\nMin","Output\nCurrent\nMax","Output\nVoltage\nMin","Output\nVoltage\nMax","Output\nPower\nMin","Output\nPower\nMax",250,null,350,null,350,null,700,null,350,null,700,null,700,null,500,null,null,null,null,null,350,null,500,null,700,null,350,null,700,null,null,null,250,null,700,null,700,null,250,null,null,null,250,null,700,null,700,null,700,null,350,null,350,null,700,null,700,null,700,null,"-","-","-"]
["Voltage Vdc",null,null,null,null,null,null,36,36,3,3,3,3,3.4,3.4,19,19,9.6999999999999993,9.6999999999999993,3,3,12,12,null,null,null,null,3,3,3,3,3,3,18,18,3,3,null,null,36,36,3,3,3,3,35,35,null,null,36,36,3,3,9.6999999999999993,9.6999999999999993,9,9,18,18,18,18,3.4,3.4,9.6,9.6,3,3,24,24,24]
["Power W",null,null,null,null,null,null,9,null,1.05,null,1.05,null,2.2999999999999998,null,6.6,null,6.7,null,2.1,null,6,null,null,null,null,null,1.05,null,2,null,2.1,null,6.3,null,3,null,null,null,10,null,2.1,null,2.1,null,8.75,null,null,null,10,null,2.1,null,6.8,null,6.3,null,7,null,8,null,2.2999999999999998,null,6.7,null,2.1,null,{"$f":"9.6","v":9.6},{"$f":"13","v":13},{"$f":"19.2","v":19.2}]
["Powerbank.250",250,250,25,42,6.25,10.5,{"$f":"IF(H$2=\"\",\"\",IF(OR(H$6<$B9,H$6>$C9),\"\",IF(AND(OR(H$2*H$7>=$D9,H$2*I$7>=$D9),OR(H$2*H$7<=$E9,H$2*I$7<=$E9),H$2*H$8>=$F9,H$2*H$8<=$G9),\"ü\",\"\")))","v":"ü"},null,null,null,{"$f":"IF(L$2=\"\",\"\",IF(OR(L$6<$B9,L$6>$C9),\"\",IF(AND(OR(L$2*L$7>=$D9,L$2*M$7>=$D9),OR(L$2*L$7<=$E9,L$2*M$7<=$E9),L$2*L$8>=$F9,L$2*L$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(N$2=\"\",\"\",IF(OR(N$6<$B9,N$6>$C9),\"\",IF(AND(OR(N$2*N$7>=$D9,N$2*O$7>=$D9),OR(N$2*N$7<=$E9,N$2*O$7<=$E9),N$2*N$8>=$F9,N$2*N$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(P$2=\"\",\"\",IF(OR(P$6<$B9,P$6>$C9),\"\",IF(AND(OR(P$2*P$7>=$D9,P$2*Q$7>=$D9),OR(P$2*P$7<=$E9,P$2*Q$7<=$E9),P$2*P$8>=$F9,P$2*P$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(R$2=\"\",\"\",IF(OR(R$6<$B9,R$6>$C9),\"\",IF(AND(OR(R$2*R$7>=$D9,R$2*S$7>=$D9),OR(R$2*R$7<=$E9,R$2*S$7<=$E9),R$2*R$8>=$F9,R$2*R$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(T$2=\"\",\"\",IF(OR(T$6<$B9,T$6>$C9),\"\",IF(AND(OR(T$2*T$7>=$D9,T$2*U$7>=$D9),OR(T$2*T$7<=$E9,T$2*U$7<=$E9),T$2*T$8>=$F9,T$2*T$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(V$2=\"\",\"\",IF(OR(V$6<$B9,V$6>$C9),\"\",IF(AND(OR(V$2*V$7>=$D9,V$2*W$7>=$D9),OR(V$2*V$7<=$E9,V$2*W$7<=$E9),V$2*V$8>=$F9,V$2*V$8<=$G9),\"ü\",\"\")))","v":""},null,"NO NEED TO PURCHASE A SEPARATE DRIVER.  DRIVER INTE-GRATED INTO EACH FITTING.",null,"NO NEED TO PURCHASE A SEPARATE DRIVER.  DRIVER INTE-GRATED INTO EACH FITTING.",null,{"$f":"IF(AB$2=\"\",\"\",IF(OR(AB$6<$B9,AB$6>$C9),\"\",IF(AND(OR(AB$2*AB$7>=$D9,AB$2*AC$7>=$D9),OR(AB$2*AB$7<=$E9,AB$2*AC$7<=$E9),AB$2*AB$8>=$F9,AB$2*AB$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AD$2=\"\",\"\",IF(OR(AD$6<$B9,AD$6>$C9),\"\",IF(AND(OR(AD$2*AD$7>=$D9,AD$2*AE$7>=$D9),OR(AD$2*AD$7<=$E9,AD$2*AE$7<=$E9),AD$2*AD$8>=$F9,AD$2*AD$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AF$2=\"\",\"\",IF(OR(AF$6<$B9,AF$6>$C9),\"\",IF(AND(OR(AF$2*AF$7>=$D9,AF$2*AG$7>=$D9),OR(AF$2*AF$7<=$E9,AF$2*AG$7<=$E9),AF$2*AF$8>=$F9,AF$2*AF$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AH$2=\"\",\"\",IF(OR(AH$6<$B9,AH$6>$C9),\"\",IF(AND(OR(AH$2*AH$7>=$D9,AH$2*AI$7>=$D9),OR(AH$2*AH$7<=$E9,AH$2*AI$7<=$E9),AH$2*AH$8>=$F9,AH$2*AH$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AJ$2=\"\",\"\",IF(OR(AJ$6<$B9,AJ$6>$C9),\"\",IF(AND(OR(AJ$2*AJ$7>=$D9,AJ$2*AK$7>=$D9),OR(AJ$2*AJ$7<=$E9,AJ$2*AK$7<=$E9),AJ$2*AJ$8>=$F9,AJ$2*AJ$8<=$G9),\"ü\",\"\")))","v":""},null,"NO NEED TO PURCHASE A SEPARATE DRIVER.  DRIVER INTE-GRATED INTO EACH FITTING.",null,{"$f":"IF(AN$2=\"\",\"\",IF(OR(AN$6<$B9,AN$6>$C9),\"\",IF(AND(OR(AN$2*AN$7>=$D9,AN$2*AO$7>=$D9),OR(AN$2*AN$7<=$E9,AN$2*AO$7<=$E9),AN$2*AN$8>=$F9,AN$2*AN$8<=$G9),\"ü\",\"\")))","v":"ü"},null,{"$f":"IF(AP$2=\"\",\"\",IF(OR(AP$6<$B9,AP$6>$C9),\"\",IF(AND(OR(AP$2*AP$7>=$D9,AP$2*AQ$7>=$D9),OR(AP$2*AP$7<=$E9,AP$2*AQ$7<=$E9),AP$2*AP$8>=$F9,AP$2*AP$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AR$2=\"\",\"\",IF(OR(AR$6<$B9,AR$6>$C9),\"\",IF(AND(OR(AR$2*AR$7>=$D9,AR$2*AS$7>=$D9),OR(AR$2*AR$7<=$E9,AR$2*AS$7<=$E9),AR$2*AR$8>=$F9,AR$2*AR$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(AT$2=\"\",\"\",IF(OR(AT$6<$B9,AT$6>$C9),\"\",IF(AND(OR(AT$2*AT$7>=$D9,AT$2*AU$7>=$D9),OR(AT$2*AT$7<=$E9,AT$2*AU$7<=$E9),AT$2*AT$8>=$F9,AT$2*AT$8<=$G9),\"ü\",\"\")))","v":"ü"},null,"NO NEED TO PURCHASE A SEPARATE DRIVER.  DRIVER INTE-GRATED INTO EACH FITTING.",null,{"$f":"IF(AX$2=\"\",\"\",IF(OR(AX$6<$B9,AX$6>$C9),\"\",IF(AND(OR(AX$2*AX$7>=$D9,AX$2*AY$7>=$D9),OR(AX$2*AX$7<=$E9,AX$2*AY$7<=$E9),AX$2*AX$8>=$F9,AX$2*AX$8<=$G9),\"ü\",\"\")))","v":"ü"},null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B9,AZ$6>$C9),\"\",IF(AND(OR(AZ$2*AZ$7>=$D9,AZ$2*BA$7>=$D9),OR(AZ$2*AZ$7<=$E9,AZ$2*BA$7<=$E9),AZ$2*AZ$8>=$F9,AZ$2*AZ$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B9,BB$6>$C9),\"\",IF(AND(OR(BB$2*BB$7>=$D9,BB$2*BC$7>=$D9),OR(BB$2*BB$7<=$E9,BB$2*BC$7<=$E9),BB$2*BB$8>=$F9,BB$2*BB$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BD$2=\"\",\"\",IF(OR(BD$6<$B9,BD$6>$C9),\"\",IF(AND(OR(BD$2*BD$7>=$D9,BD$2*BE$7>=$D9),OR(BD$2*BD$7<=$E9,BD$2*BE$7<=$E9),BD$2*BD$8>=$F9,BD$2*BD$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BF$2=\"\",\"\",IF(OR(BF$6<$B9,BF$6>$C9),\"\",IF(AND(OR(BF$2*BF$7>=$D9,BF$2*BG$7>=$D9),OR(BF$2*BF$7<=$E9,BF$2*BG$7<=$E9),BF$2*BF$8>=$F9,BF$2*BF$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BH$2=\"\",\"\",IF(OR(BH$6<$B9,BH$6>$C9),\"\",IF(AND(OR(BH$2*BH$7>=$D9,BH$2*BI$7>=$D9),OR(BH$2*BH$7<=$E9,BH$2*BI$7<=$E9),BH$2*BH$8>=$F9,BH$2*BH$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B9,BJ$6>$C9),\"\",IF(AND(OR(BJ$2*BJ$7>=$D9,BJ$2*BK$7>=$D9),OR(BJ$2*BJ$7<=$E9,BJ$2*BK$7<=$E9),BJ$2*BJ$8>=$F9,BJ$2*BJ$8<=$G9),\"ü\",\"\")))","v":""},null,{"$f":"IF(BL$2=\"\",\"\",IF(OR(BL$6<$B9,BL$6>$C9),\"\",IF(AND(OR(BL$2*BL$7>=$D9,BL$2*BM$7>=$D9),OR(BL$2*BL$7<=$E9,BL$2*BM$7<=$E9),BL$2*BL$8>=$F9,BL$2*BL$8<=$G9),\"ü\",\"\")))","v":""},null,"NO NEED TO PURCHASE A SEPARATE DRIVER.  DRIVER INTE-GRATED INTO EACH FITTING.",null,{"$f":"IF(BP$2=\"\",\"\",IF(AND($D9=$E9,$E9=BP$7,BP$2*BP$8>=$F9,BP$2*BP$8<=$G9),\"ü\",\"\"))","v":""},{"$f":"IF(BQ$2=\"\",\"\",IF(AND($D9=$E9,$E9=BQ$7,BQ$2*BQ$8>=$F9,BQ$2*BQ$8<=$G9),\"ü\",\"\"))","v":""},""]
["Powerbank.250DALI","DIFFERENT FORMULA --->",null,null,null,null,null,{"$f":"IF(H11<>\"\",H11,IF(H12<>\"\",H12,IF(H13<>\"\",H13,H14)))","v":"ü"},null,{"$f":"IF(J11<>\"\",J11,IF(J12<>\"\",J12,IF(J13<>\"\",J13,J14)))","v":"ü"},null,{"$f":"IF(L11<>\"\",L11,IF(L12<>\"\",L12,IF(L13<>\"\",L13,L14)))","v":""},null,{"$f":"IF(N11<>\"\",N11,IF(N12<>\"\",N12,IF(N13<>\"\",N13,N14)))","v":""},null,{"$f":"IF(P11<>\"\",P11,IF(P12<>\"\",P12,IF(P13<>\"\",P13,P14)))","v":"ü"},null,{"$f":"IF(R11<>\"\",R11,IF(R12<>\"\",R12,IF(R13<>\"\",R13,R14)))","v":""},null,{"$f":"IF(T11<>\"\",T11,IF(T12<>\"\",T12,IF(T13<>\"\",T13,T14)))","v":""},null,"",null,null,null,null,null,{"$f":"IF(AB11<>\"\",AB11,IF(AB12<>\"\",AB12,IF(AB13<>\"\",AB13,AB14)))","v":""},null,{"$f":"IF(AD11<>\"\",AD11,IF(AD12<>\"\",AD12,IF(AD13<>\"\",AD13,AD14)))","v":""},null,"",null,{"$f":"IF(AH11<>\"\",AH11,IF(AH12<>\"\",AH12,IF(AH13<>\"\",AH13,AH14)))","v":""},null,"",null,null,null,{"$f":"IF(AN11<>\"\",AN11,IF(AN12<>\"\",AN12,IF(AN13<>\"\",AN13,AN14)))","v":"ü"},null,{"$f":"IF(AP11<>\"\",AP11,IF(AP12<>\"\",AP12,IF(AP13<>\"\",AP13,AP14)))","v":""},null,{"$f":"IF(AR11<>\"\",AR11,IF(AR12<>\"\",AR12,IF(AR13<>\"\",AR13,AR14)))","v":""},null,{"$f":"IF(AT11<>\"\",AT11,IF(AT12<>\"\",AT12,IF(AT13<>\"\",AT13,AT14)))","v":"ü"},null,null,null,{"$f":"IF(AX11<>\"\",AX11,IF(AX12<>\"\",AX12,IF(AX13<>\"\",AX13,AX14)))","v":"ü"},null,{"$f":"IF(AZ11<>\"\",AZ11,IF(AZ12<>\"\",AZ12,IF(AZ13<>\"\",AZ13,AZ14)))","v":""},null,{"$f":"IF(BB11<>\"\",BB11,IF(BB12<>\"\",BB12,IF(BB13<>\"\",BB13,BB14)))","v":""},null,{"$f":"IF(BD11<>\"\",BD11,IF(BD12<>\"\",BD12,IF(BD13<>\"\",BD13,BD14)))","v":""},null,{"$f":"IF(BF11<>\"\",BF11,IF(BF12<>\"\",BF12,IF(BF13<>\"\",BF13,BF14)))","v":""},null,"ü",null,{"$f":"IF(BJ11<>\"\",BJ11,IF(BJ12<>\"\",BJ12,IF(BJ13<>\"\",BJ13,BJ14)))","v":""},null,{"$f":"IF(BL11<>\"\",BL11,IF(BL12<>\"\",BL12,IF(BL13<>\"\",BL13,BL14)))","v":""},null,null,null,{"$f":"IF(BP$2=\"\",\"\",IF(AND($D10=$E10,$E10=BP$7,BP$2*BP$8>=$F10,BP$2*BP$8<=$G10),\"ü\",\"\"))","v":""},"",""]
[null,200,200,9,42,1.8,8.4,{"$f":"IF(H$2=\"\",\"\",IF(OR(H$6<$B11,H$6>$C11),\"\",IF(AND(OR(H$2*H$7>=$D11,H$2*I$7>=$D11),OR(H$2*H$7<=$E11,H$2*I$7<=$E11),H$2*H$8>=$F11,H$2*H$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(J$2=\"\",\"\",IF(OR(J$6<$B11,J$6>$C11),\"\",IF(AND(OR(J$2*J$7>=$D11,J$2*K$7>=$D11),OR(J$2*J$7<=$E11,J$2*K$7<=$E11),J$2*J$8>=$F11,J$2*J$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(L$2=\"\",\"\",IF(OR(L$6<$B11,L$6>$C11),\"\",IF(AND(OR(L$2*L$7>=$D11,L$2*M$7>=$D11),OR(L$2*L$7<=$E11,L$2*M$7<=$E11),L$2*L$8>=$F11,L$2*L$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(N$2=\"\",\"\",IF(OR(N$6<$B11,N$6>$C11),\"\",IF(AND(OR(N$2*N$7>=$D11,N$2*O$7>=$D11),OR(N$2*N$7<=$E11,N$2*O$7<=$E11),N$2*N$8>=$F11,N$2*N$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(P$2=\"\",\"\",IF(OR(P$6<$B11,P$6>$C11),\"\",IF(AND(OR(P$2*P$7>=$D11,P$2*Q$7>=$D11),OR(P$2*P$7<=$E11,P$2*Q$7<=$E11),P$2*P$8>=$F11,P$2*P$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(R$2=\"\",\"\",IF(OR(R$6<$B11,R$6>$C11),\"\",IF(AND(OR(R$2*R$7>=$D11,R$2*S$7>=$D11),OR(R$2*R$7<=$E11,R$2*S$7<=$E11),R$2*R$8>=$F11,R$2*R$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(T$2=\"\",\"\",IF(OR(T$6<$B11,T$6>$C11),\"\",IF(AND(OR(T$2*T$7>=$D11,T$2*U$7>=$D11),OR(T$2*T$7<=$E11,T$2*U$7<=$E11),T$2*T$8>=$F11,T$2*T$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(V$2=\"\",\"\",IF(OR(V$6<$B11,V$6>$C11),\"\",IF(AND(OR(V$2*V$7>=$D11,V$2*W$7>=$D11),OR(V$2*V$7<=$E11,V$2*W$7<=$E11),V$2*V$8>=$F11,V$2*V$8<=$G11),\"ü\",\"\")))","v":""},null,null,null,null,null,{"$f":"IF(AB$2=\"\",\"\",IF(OR(AB$6<$B11,AB$6>$C11),\"\",IF(AND(OR(AB$2*AB$7>=$D11,AB$2*AC$7>=$D11),OR(AB$2*AB$7<=$E11,AB$2*AC$7<=$E11),AB$2*AB$8>=$F11,AB$2*AB$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AD$2=\"\",\"\",IF(OR(AD$6<$B11,AD$6>$C11),\"\",IF(AND(OR(AD$2*AD$7>=$D11,AD$2*AE$7>=$D11),OR(AD$2*AD$7<=$E11,AD$2*AE$7<=$E11),AD$2*AD$8>=$F11,AD$2*AD$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AF$2=\"\",\"\",IF(OR(AF$6<$B11,AF$6>$C11),\"\",IF(AND(OR(AF$2*AF$7>=$D11,AF$2*AG$7>=$D11),OR(AF$2*AF$7<=$E11,AF$2*AG$7<=$E11),AF$2*AF$8>=$F11,AF$2*AF$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AH$2=\"\",\"\",IF(OR(AH$6<$B11,AH$6>$C11),\"\",IF(AND(OR(AH$2*AH$7>=$D11,AH$2*AI$7>=$D11),OR(AH$2*AH$7<=$E11,AH$2*AI$7<=$E11),AH$2*AH$8>=$F11,AH$2*AH$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AJ$2=\"\",\"\",IF(OR(AJ$6<$B11,AJ$6>$C11),\"\",IF(AND(OR(AJ$2*AJ$7>=$D11,AJ$2*AK$7>=$D11),OR(AJ$2*AJ$7<=$E11,AJ$2*AK$7<=$E11),AJ$2*AJ$8>=$F11,AJ$2*AJ$8<=$G11),\"ü\",\"\")))","v":""},null,null,null,{"$f":"IF(AN$2=\"\",\"\",IF(OR(AN$6<$B11,AN$6>$C11),\"\",IF(AND(OR(AN$2*AN$7>=$D11,AN$2*AO$7>=$D11),OR(AN$2*AN$7<=$E11,AN$2*AO$7<=$E11),AN$2*AN$8>=$F11,AN$2*AN$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AP$2=\"\",\"\",IF(OR(AP$6<$B11,AP$6>$C11),\"\",IF(AND(OR(AP$2*AP$7>=$D11,AP$2*AQ$7>=$D11),OR(AP$2*AP$7<=$E11,AP$2*AQ$7<=$E11),AP$2*AP$8>=$F11,AP$2*AP$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AR$2=\"\",\"\",IF(OR(AR$6<$B11,AR$6>$C11),\"\",IF(AND(OR(AR$2*AR$7>=$D11,AR$2*AS$7>=$D11),OR(AR$2*AR$7<=$E11,AR$2*AS$7<=$E11),AR$2*AR$8>=$F11,AR$2*AR$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AT$2=\"\",\"\",IF(OR(AT$6<$B11,AT$6>$C11),\"\",IF(AND(OR(AT$2*AT$7>=$D11,AT$2*AU$7>=$D11),OR(AT$2*AT$7<=$E11,AT$2*AU$7<=$E11),AT$2*AT$8>=$F11,AT$2*AT$8<=$G11),\"ü\",\"\")))","v":""},null,null,null,{"$f":"IF(AX$2=\"\",\"\",IF(OR(AX$6<$B11,AX$6>$C11),\"\",IF(AND(OR(AX$2*AX$7>=$D11,AX$2*AY$7>=$D11),OR(AX$2*AX$7<=$E11,AX$2*AY$7<=$E11),AX$2*AX$8>=$F11,AX$2*AX$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B11,AZ$6>$C11),\"\",IF(AND(OR(AZ$2*AZ$7>=$D11,AZ$2*BA$7>=$D11),OR(AZ$2*AZ$7<=$E11,AZ$2*BA$7<=$E11),AZ$2*AZ$8>=$F11,AZ$2*AZ$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B11,BB$6>$C11),\"\",IF(AND(OR(BB$2*BB$7>=$D11,BB$2*BC$7>=$D11),OR(BB$2*BB$7<=$E11,BB$2*BC$7<=$E11),BB$2*BB$8>=$F11,BB$2*BB$8<=$G11),\"ü\",\"\")))","v":""},null,"",null,{"$f":"IF(BF$2=\"\",\"\",IF(OR(BF$6<$B11,BF$6>$C11),\"\",IF(AND(OR(BF$2*BF$7>=$D11,BF$2*BG$7>=$D11),OR(BF$2*BF$7<=$E11,BF$2*BG$7<=$E11),BF$2*BF$8>=$F11,BF$2*BF$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(BH$2=\"\",\"\",IF(OR(BH$6<$B11,BH$6>$C11),\"\",IF(AND(OR(BH$2*BH$7>=$D11,BH$2*BI$7>=$D11),OR(BH$2*BH$7<=$E11,BH$2*BI$7<=$E11),BH$2*BH$8>=$F11,BH$2*BH$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B11,BJ$6>$C11),\"\",IF(AND(OR(BJ$2*BJ$7>=$D11,BJ$2*BK$7>=$D11),OR(BJ$2*BJ$7<=$E11,BJ$2*BK$7<=$E11),BJ$2*BJ$8>=$F11,BJ$2*BJ$8<=$G11),\"ü\",\"\")))","v":""},null,{"$f":"IF(BL$2=\"\",\"\",IF(OR(BL$6<$B11,BL$6>$C11),\"\",IF(AND(OR(BL$2*BL$7>=$D11,BL$2*BM$7>=$D11),OR(BL$2*BL$7<=$E11,BL$2*BM$7<=$E11),BL$2*BL$8>=$F11,BL$2*BL$8<=$G11),\"ü\",\"\")))","v":""},null,null,null,"","",""]
[null,250,250,9,42,2.25,10.5,"ü",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"ü",null,"",null,"",null,"ü",null,null,null,"ü",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B12,AZ$6>$C12),\"\",IF(AND(OR(AZ$2*AZ$7>=$D12,AZ$2*BA$7>=$D12),OR(AZ$2*AZ$7<=$E12,AZ$2*BA$7<=$E12),AZ$2*AZ$8>=$F12,AZ$2*AZ$8<=$G12),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B12,BB$6>$C12),\"\",IF(AND(OR(BB$2*BB$7>=$D12,BB$2*BC$7>=$D12),OR(BB$2*BB$7<=$E12,BB$2*BC$7<=$E12),BB$2*BB$8>=$F12,BB$2*BB$8<=$G12),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B12,BJ$6>$C12),\"\",IF(AND(OR(BJ$2*BJ$7>=$D12,BJ$2*BK$7>=$D12),OR(BJ$2*BJ$7<=$E12,BJ$2*BK$7<=$E12),BJ$2*BJ$8>=$F12,BJ$2*BJ$8<=$G12),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
[null,300,300,9,42,2.7,12.6,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B13,AZ$6>$C13),\"\",IF(AND(OR(AZ$2*AZ$7>=$D13,AZ$2*BA$7>=$D13),OR(AZ$2*AZ$7<=$E13,AZ$2*BA$7<=$E13),AZ$2*AZ$8>=$F13,AZ$2*AZ$8<=$G13),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B13,BB$6>$C13),\"\",IF(AND(OR(BB$2*BB$7>=$D13,BB$2*BC$7>=$D13),OR(BB$2*BB$7<=$E13,BB$2*BC$7<=$E13),BB$2*BB$8>=$F13,BB$2*BB$8<=$G13),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B13,BJ$6>$C13),\"\",IF(AND(OR(BJ$2*BJ$7>=$D13,BJ$2*BK$7>=$D13),OR(BJ$2*BJ$7<=$E13,BJ$2*BK$7<=$E13),BJ$2*BJ$8>=$F13,BJ$2*BJ$8<=$G13),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
[null,350,350,9,42,3.15,14.7,"",null,"ü",null,"",null,"",null,"ü",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B14,AZ$6>$C14),\"\",IF(AND(OR(AZ$2*AZ$7>=$D14,AZ$2*BA$7>=$D14),OR(AZ$2*AZ$7<=$E14,AZ$2*BA$7<=$E14),AZ$2*AZ$8>=$F14,AZ$2*AZ$8<=$G14),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B14,BB$6>$C14),\"\",IF(AND(OR(BB$2*BB$7>=$D14,BB$2*BC$7>=$D14),OR(BB$2*BB$7<=$E14,BB$2*BC$7<=$E14),BB$2*BB$8>=$F14,BB$2*BB$8<=$G14),\"ü\",\"\")))","v":""},null,"",null,"",null,"ü",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B14,BJ$6>$C14),\"\",IF(AND(OR(BJ$2*BJ$7>=$D14,BJ$2*BK$7>=$D14),OR(BJ$2*BJ$7<=$E14,BJ$2*BK$7<=$E14),BJ$2*BJ$8>=$F14,BJ$2*BJ$8<=$G14),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank350.S",350,350,2.5,6,2,4.2,"",null,"",null,"ü",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"ü",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B15,AZ$6>$C15),\"\",IF(AND(OR(AZ$2*AZ$7>=$D15,AZ$2*BA$7>=$D15),OR(AZ$2*AZ$7<=$E15,AZ$2*BA$7<=$E15),AZ$2*AZ$8>=$F15,AZ$2*AZ$8<=$G15),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B15,BB$6>$C15),\"\",IF(AND(OR(BB$2*BB$7>=$D15,BB$2*BC$7>=$D15),OR(BB$2*BB$7<=$E15,BB$2*BC$7<=$E15),BB$2*BB$8>=$F15,BB$2*BB$8<=$G15),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B15,BJ$6>$C15),\"\",IF(AND(OR(BJ$2*BJ$7>=$D15,BJ$2*BK$7>=$D15),OR(BJ$2*BJ$7<=$E15,BJ$2*BK$7<=$E15),BJ$2*BJ$8>=$F15,BJ$2*BJ$8<=$G15),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank350.M",350,350,12,24,4.2,8.4,"",null,"ü",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B16,AZ$6>$C16),\"\",IF(AND(OR(AZ$2*AZ$7>=$D16,AZ$2*BA$7>=$D16),OR(AZ$2*AZ$7<=$E16,AZ$2*BA$7<=$E16),AZ$2*AZ$8>=$F16,AZ$2*AZ$8<=$G16),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B16,BB$6>$C16),\"\",IF(AND(OR(BB$2*BB$7>=$D16,BB$2*BC$7>=$D16),OR(BB$2*BB$7<=$E16,BB$2*BC$7<=$E16),BB$2*BB$8>=$F16,BB$2*BB$8<=$G16),\"ü\",\"\")))","v":""},null,"",null,"",null,"ü",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B16,BJ$6>$C16),\"\",IF(AND(OR(BJ$2*BJ$7>=$D16,BJ$2*BK$7>=$D16),OR(BJ$2*BJ$7<=$E16,BJ$2*BK$7<=$E16),BJ$2*BJ$8>=$F16,BJ$2*BJ$8<=$G16),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank350.L",350,350,25,42,8.75,14.7,"",null,"",null,"",null,"",null,"ü",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B17,AZ$6>$C17),\"\",IF(AND(OR(AZ$2*AZ$7>=$D17,AZ$2*BA$7>=$D17),OR(AZ$2*AZ$7<=$E17,AZ$2*BA$7<=$E17),AZ$2*AZ$8>=$F17,AZ$2*AZ$8<=$G17),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B17,BB$6>$C17),\"\",IF(AND(OR(BB$2*BB$7>=$D17,BB$2*BC$7>=$D17),OR(BB$2*BB$7<=$E17,BB$2*BC$7<=$E17),BB$2*BB$8>=$F17,BB$2*BB$8<=$G17),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B17,BJ$6>$C17),\"\",IF(AND(OR(BJ$2*BJ$7>=$D17,BJ$2*BK$7>=$D17),OR(BJ$2*BJ$7<=$E17,BJ$2*BK$7<=$E17),BJ$2*BJ$8>=$F17,BJ$2*BJ$8<=$G17),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank350.XL",350,350,43,70,15,25,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"ü",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B18,AZ$6>$C18),\"\",IF(AND(OR(AZ$2*AZ$7>=$D18,AZ$2*BA$7>=$D18),OR(AZ$2*AZ$7<=$E18,AZ$2*BA$7<=$E18),AZ$2*AZ$8>=$F18,AZ$2*AZ$8<=$G18),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B18,BB$6>$C18),\"\",IF(AND(OR(BB$2*BB$7>=$D18,BB$2*BC$7>=$D18),OR(BB$2*BB$7<=$E18,BB$2*BC$7<=$E18),BB$2*BB$8>=$F18,BB$2*BB$8<=$G18),\"ü\",\"\")))","v":""},null,"",null,"ü",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B18,BJ$6>$C18),\"\",IF(AND(OR(BJ$2*BJ$7>=$D18,BJ$2*BK$7>=$D18),OR(BJ$2*BJ$7<=$E18,BJ$2*BK$7<=$E18),BJ$2*BJ$8>=$F18,BJ$2*BJ$8<=$G18),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank500.M",500,500,6,15,3,7.5,{"$f":"IF(H$2=\"\",\"\",IF(OR(H$6<$B19,H$6>$C19),\"\",IF(AND(OR(H$2*H$7>=$D19,H$2*I$7>=$D19),OR(H$2*H$7<=$E19,H$2*I$7<=$E19),H$2*H$8>=$F19,H$2*H$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(J$2=\"\",\"\",IF(OR(J$6<$B19,J$6>$C19),\"\",IF(AND(OR(J$2*J$7>=$D19,J$2*K$7>=$D19),OR(J$2*J$7<=$E19,J$2*K$7<=$E19),J$2*J$8>=$F19,J$2*J$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(L$2=\"\",\"\",IF(OR(L$6<$B19,L$6>$C19),\"\",IF(AND(OR(L$2*L$7>=$D19,L$2*M$7>=$D19),OR(L$2*L$7<=$E19,L$2*M$7<=$E19),L$2*L$8>=$F19,L$2*L$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(N$2=\"\",\"\",IF(OR(N$6<$B19,N$6>$C19),\"\",IF(AND(OR(N$2*N$7>=$D19,N$2*O$7>=$D19),OR(N$2*N$7<=$E19,N$2*O$7<=$E19),N$2*N$8>=$F19,N$2*N$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(P$2=\"\",\"\",IF(OR(P$6<$B19,P$6>$C19),\"\",IF(AND(OR(P$2*P$7>=$D19,P$2*Q$7>=$D19),OR(P$2*P$7<=$E19,P$2*Q$7<=$E19),P$2*P$8>=$F19,P$2*P$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(R$2=\"\",\"\",IF(OR(R$6<$B19,R$6>$C19),\"\",IF(AND(OR(R$2*R$7>=$D19,R$2*S$7>=$D19),OR(R$2*R$7<=$E19,R$2*S$7<=$E19),R$2*R$8>=$F19,R$2*R$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(T$2=\"\",\"\",IF(OR(T$6<$B19,T$6>$C19),\"\",IF(AND(OR(T$2*T$7>=$D19,T$2*U$7>=$D19),OR(T$2*T$7<=$E19,T$2*U$7<=$E19),T$2*T$8>=$F19,T$2*T$8<=$G19),\"ü\",\"\")))","v":""},null,"",null,null,null,null,null,{"$f":"IF(AB$2=\"\",\"\",IF(OR(AB$6<$B19,AB$6>$C19),\"\",IF(AND(OR(AB$2*AB$7>=$D19,AB$2*AC$7>=$D19),OR(AB$2*AB$7<=$E19,AB$2*AC$7<=$E19),AB$2*AB$8>=$F19,AB$2*AB$8<=$G19),\"ü\",\"\")))","v":""},null,"",null,{"$f":"IF(AF$2=\"\",\"\",IF(OR(AF$6<$B19,AF$6>$C19),\"\",IF(AND(OR(AF$2*AF$7>=$D19,AF$2*AG$7>=$D19),OR(AF$2*AF$7<=$E19,AF$2*AG$7<=$E19),AF$2*AF$8>=$F19,AF$2*AF$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(AH$2=\"\",\"\",IF(OR(AH$6<$B19,AH$6>$C19),\"\",IF(AND(OR(AH$2*AH$7>=$D19,AH$2*AI$7>=$D19),OR(AH$2*AH$7<=$E19,AH$2*AI$7<=$E19),AH$2*AH$8>=$F19,AH$2*AH$8<=$G19),\"ü\",\"\")))","v":""},null,"",null,null,null,"",null,{"$f":"IF(AP$2=\"\",\"\",IF(OR(AP$6<$B19,AP$6>$C19),\"\",IF(AND(OR(AP$2*AP$7>=$D19,AP$2*AQ$7>=$D19),OR(AP$2*AP$7<=$E19,AP$2*AQ$7<=$E19),AP$2*AP$8>=$F19,AP$2*AP$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(AR$2=\"\",\"\",IF(OR(AR$6<$B19,AR$6>$C19),\"\",IF(AND(OR(AR$2*AR$7>=$D19,AR$2*AS$7>=$D19),OR(AR$2*AR$7<=$E19,AR$2*AS$7<=$E19),AR$2*AR$8>=$F19,AR$2*AR$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(AT$2=\"\",\"\",IF(OR(AT$6<$B19,AT$6>$C19),\"\",IF(AND(OR(AT$2*AT$7>=$D19,AT$2*AU$7>=$D19),OR(AT$2*AT$7<=$E19,AT$2*AU$7<=$E19),AT$2*AT$8>=$F19,AT$2*AT$8<=$G19),\"ü\",\"\")))","v":""},null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B19,AZ$6>$C19),\"\",IF(AND(OR(AZ$2*AZ$7>=$D19,AZ$2*BA$7>=$D19),OR(AZ$2*AZ$7<=$E19,AZ$2*BA$7<=$E19),AZ$2*AZ$8>=$F19,AZ$2*AZ$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B19,BB$6>$C19),\"\",IF(AND(OR(BB$2*BB$7>=$D19,BB$2*BC$7>=$D19),OR(BB$2*BB$7<=$E19,BB$2*BC$7<=$E19),BB$2*BB$8>=$F19,BB$2*BB$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(BD$2=\"\",\"\",IF(OR(BD$6<$B19,BD$6>$C19),\"\",IF(AND(OR(BD$2*BD$7>=$D19,BD$2*BE$7>=$D19),OR(BD$2*BD$7<=$E19,BD$2*BE$7<=$E19),BD$2*BD$8>=$F19,BD$2*BD$8<=$G19),\"ü\",\"\")))","v":""},null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B19,BJ$6>$C19),\"\",IF(AND(OR(BJ$2*BJ$7>=$D19,BJ$2*BK$7>=$D19),OR(BJ$2*BJ$7<=$E19,BJ$2*BK$7<=$E19),BJ$2*BJ$8>=$F19,BJ$2*BJ$8<=$G19),\"ü\",\"\")))","v":""},null,{"$f":"IF(BL$2=\"\",\"\",IF(OR(BL$6<$B19,BL$6>$C19),\"\",IF(AND(OR(BL$2*BL$7>=$D19,BL$2*BM$7>=$D19),OR(BL$2*BL$7<=$E19,BL$2*BM$7<=$E19),BL$2*BL$8>=$F19,BL$2*BL$8<=$G19),\"ü\",\"\")))","v":""},null,null,null,"","",""]
["Powerbank500.L",500,500,24,42,12.5,21,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"ü",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,"","",""]
["Powerbank700.S",700,700,6,15,4.2,10.5,"",null,"",null,"",null,"ü",null,"",null,"",null,"ü",null,"",null,null,null,null,null,"",null,"",null,"ü",null,"",null,"",null,null,null,"",null,"",null,"ü",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B21,AZ$6>$C21),\"\",IF(AND(OR(AZ$2*AZ$7>=$D21,AZ$2*BA$7>=$D21),OR(AZ$2*AZ$7<=$E21,AZ$2*BA$7<=$E21),AZ$2*AZ$8>=$F21,AZ$2*AZ$8<=$G21),\"ü\",\"\")))","v":"ü"},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B21,BB$6>$C21),\"\",IF(AND(OR(BB$2*BB$7>=$D21,BB$2*BC$7>=$D21),OR(BB$2*BB$7<=$E21,BB$2*BC$7<=$E21),BB$2*BB$8>=$F21,BB$2*BB$8<=$G21),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B21,BJ$6>$C21),\"\",IF(AND(OR(BJ$2*BJ$7>=$D21,BJ$2*BK$7>=$D21),OR(BJ$2*BJ$7<=$E21,BJ$2*BK$7<=$E21),BJ$2*BJ$8>=$F21,BJ$2*BJ$8<=$G21),\"ü\",\"\")))","v":"ü"},null,"ü",null,null,null,"","",""]
["Powerbank700.M",700,700,12,24,8.5,16.8,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"ü",null,"",null,"",null,null,null,"",null,"ü",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B22,AZ$6>$C22),\"\",IF(AND(OR(AZ$2*AZ$7>=$D22,AZ$2*BA$7>=$D22),OR(AZ$2*AZ$7<=$E22,AZ$2*BA$7<=$E22),AZ$2*AZ$8>=$F22,AZ$2*AZ$8<=$G22),\"ü\",\"\")))","v":"ü"},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B22,BB$6>$C22),\"\",IF(AND(OR(BB$2*BB$7>=$D22,BB$2*BC$7>=$D22),OR(BB$2*BB$7<=$E22,BB$2*BC$7<=$E22),BB$2*BB$8>=$F22,BB$2*BB$8<=$G22),\"ü\",\"\")))","v":"ü"},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B22,BJ$6>$C22),\"\",IF(AND(OR(BJ$2*BJ$7>=$D22,BJ$2*BK$7>=$D22),OR(BJ$2*BJ$7<=$E22,BJ$2*BK$7<=$E22),BJ$2*BJ$8>=$F22,BJ$2*BJ$8<=$G22),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank700.L",700,700,25,42,17.5,29.2,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B23,AZ$6>$C23),\"\",IF(AND(OR(AZ$2*AZ$7>=$D23,AZ$2*BA$7>=$D23),OR(AZ$2*AZ$7<=$E23,AZ$2*BA$7<=$E23),AZ$2*AZ$8>=$F23,AZ$2*AZ$8<=$G23),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B23,BB$6>$C23),\"\",IF(AND(OR(BB$2*BB$7>=$D23,BB$2*BC$7>=$D23),OR(BB$2*BB$7<=$E23,BB$2*BC$7<=$E23),BB$2*BB$8>=$F23,BB$2*BB$8<=$G23),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B23,BJ$6>$C23),\"\",IF(AND(OR(BJ$2*BJ$7>=$D23,BJ$2*BK$7>=$D23),OR(BJ$2*BJ$7<=$E23,BJ$2*BK$7<=$E23),BJ$2*BJ$8>=$F23,BJ$2*BJ$8<=$G23),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["Powerbank700.XL",700,700,43,70,30,{"$f":"49","v":49},"",null,"",null,"",null,"",null,"",null,"ü",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B24,AZ$6>$C24),\"\",IF(AND(OR(AZ$2*AZ$7>=$D24,AZ$2*BA$7>=$D24),OR(AZ$2*AZ$7<=$E24,AZ$2*BA$7<=$E24),AZ$2*AZ$8>=$F24,AZ$2*AZ$8<=$G24),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B24,BB$6>$C24),\"\",IF(AND(OR(BB$2*BB$7>=$D24,BB$2*BC$7>=$D24),OR(BB$2*BB$7<=$E24,BB$2*BC$7<=$E24),BB$2*BB$8>=$F24,BB$2*BB$8<=$G24),\"ü\",\"\")))","v":""},null,"ü",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B24,BJ$6>$C24),\"\",IF(AND(OR(BJ$2*BJ$7>=$D24,BJ$2*BK$7>=$D24),OR(BJ$2*BJ$7<=$E24,BJ$2*BK$7<=$E24),BJ$2*BJ$8>=$F24,BJ$2*BJ$8<=$G24),\"ü\",\"\")))","v":""},null,"",null,null,null,"","",""]
["PowerHub.36",1500,1500,24,24,9,36,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B25,AZ$6>$C25),\"\",IF(AND(OR(AZ$2*AZ$7>=$D25,AZ$2*BA$7>=$D25),OR(AZ$2*AZ$7<=$E25,AZ$2*BA$7<=$E25),AZ$2*AZ$8>=$F25,AZ$2*AZ$8<=$G25),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B25,BB$6>$C25),\"\",IF(AND(OR(BB$2*BB$7>=$D25,BB$2*BC$7>=$D25),OR(BB$2*BB$7<=$E25,BB$2*BC$7<=$E25),BB$2*BB$8>=$F25,BB$2*BB$8<=$G25),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B25,BJ$6>$C25),\"\",IF(AND(OR(BJ$2*BJ$7>=$D25,BJ$2*BK$7>=$D25),OR(BJ$2*BJ$7<=$E25,BJ$2*BK$7<=$E25),BJ$2*BJ$8>=$F25,BJ$2*BJ$8<=$G25),\"ü\",\"\")))","v":""},null,"",null,null,null,"ü","",""]
["PowerHub.80",3300,3000,24,24,9,80,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B26,AZ$6>$C26),\"\",IF(AND(OR(AZ$2*AZ$7>=$D26,AZ$2*BA$7>=$D26),OR(AZ$2*AZ$7<=$E26,AZ$2*BA$7<=$E26),AZ$2*AZ$8>=$F26,AZ$2*AZ$8<=$G26),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B26,BB$6>$C26),\"\",IF(AND(OR(BB$2*BB$7>=$D26,BB$2*BC$7>=$D26),OR(BB$2*BB$7<=$E26,BB$2*BC$7<=$E26),BB$2*BB$8>=$F26,BB$2*BB$8<=$G26),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B26,BJ$6>$C26),\"\",IF(AND(OR(BJ$2*BJ$7>=$D26,BJ$2*BK$7>=$D26),OR(BJ$2*BJ$7<=$E26,BJ$2*BK$7<=$E26),BJ$2*BJ$8>=$F26,BJ$2*BJ$8<=$G26),\"ü\",\"\")))","v":""},null,"",null,null,null,"ü","",""]
["PowerHub.150",6250,6250,24,24,9,150,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B27,AZ$6>$C27),\"\",IF(AND(OR(AZ$2*AZ$7>=$D27,AZ$2*BA$7>=$D27),OR(AZ$2*AZ$7<=$E27,AZ$2*BA$7<=$E27),AZ$2*AZ$8>=$F27,AZ$2*AZ$8<=$G27),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B27,BB$6>$C27),\"\",IF(AND(OR(BB$2*BB$7>=$D27,BB$2*BC$7>=$D27),OR(BB$2*BB$7<=$E27,BB$2*BC$7<=$E27),BB$2*BB$8>=$F27,BB$2*BB$8<=$G27),\"ü\",\"\")))","v":""},null,"",null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B27,BJ$6>$C27),\"\",IF(AND(OR(BJ$2*BJ$7>=$D27,BJ$2*BK$7>=$D27),OR(BJ$2*BJ$7<=$E27,BJ$2*BK$7<=$E27),BJ$2*BJ$8>=$F27,BJ$2*BJ$8<=$G27),\"ü\",\"\")))","v":""},null,"",null,null,null,"ü","ü","ü"]
["Magtrak DriverTRIAC.150W",6250,6250,24,24,9,150,"",null,"",null,"",null,"",null,"",null,"",null,"",null,"",null,null,null,null,null,"",null,"",null,"",null,"",null,"",null,null,null,"",null,"",null,"",null,"",null,null,null,"",null,{"$f":"IF(AZ$2=\"\",\"\",IF(OR(AZ$6<$B28,AZ$6>$C28),\"\",IF(AND(OR(AZ$2*AZ$7>=$D28,AZ$2*BA$7>=$D28),OR(AZ$2*AZ$7<=$E28,AZ$2*BA$7<=$E28),AZ$2*AZ$8>=$F28,AZ$2*AZ$8<=$G28),\"ü\",\"\")))","v":""},null,{"$f":"IF(BB$2=\"\",\"\",IF(OR(BB$6<$B28,BB$6>$C28),\"\",IF(AND(OR(BB$2*BB$7>=$D28,BB$2*BC$7>=$D28),OR(BB$2*BB$7<=$E28,BB$2*BC$7<=$E28),BB$2*BB$8>=$F28,BB$2*BB$8<=$G28),\"ü\",\"\")))","v":""},null,{"$f":"IF(BD$2=\"\",\"\",IF(OR(BD$6<$B28,BD$6>$C28),\"\",IF(AND(OR(BD$2*BD$7>=$D28,BD$2*BE$7>=$D28),OR(BD$2*BD$7<=$E28,BD$2*BE$7<=$E28),BD$2*BD$8>=$F28,BD$2*BD$8<=$G28),\"ü\",\"\")))","v":""},null,"",null,"",null,{"$f":"IF(BJ$2=\"\",\"\",IF(OR(BJ$6<$B28,BJ$6>$C28),\"\",IF(AND(OR(BJ$2*BJ$7>=$D28,BJ$2*BK$7>=$D28),OR(BJ$2*BJ$7<=$E28,BJ$2*BK$7<=$E28),BJ$2*BJ$8>=$F28,BJ$2*BJ$8<=$G28),\"ü\",\"\")))","v":""},null,"",null,null,null,"ü","ü","ü"]